## Power Ratings
Power Ratings — measured LED database
Yellow cells are measurements/inputs. Green cells are calculated. Use a unique Rating Name because Device Template dropdowns use this field.
Rating Name | Nominal Voltage (V) | Form / Type | Chip / Protocol | Channels | Measured Qty | Measured Supply (V) | PSU Current Limit (A) | Red Measured (A) | Green Measured (A) | Blue Measured (A) | White Measured (A) | Max Measured (A) | Red A / LED | Green A / LED | Blue A / LED | White A / LED | Max A / LED | Red W / LED | Green W / LED | Blue W / LED | White W / LED | Max W / LED | Notes
5V WS2812 Pebble | 5 | Pebble | WS2812 | 1 | 100 | 5 | 5 | 1.3 | 1.3 | 1.2 | 2.4 | 2.4 | 0.013 | 0.013 | 0.012 | 0.024 | 0.024 | 0.065 | 0.065 | 0.06 | 0.12 | 0.12

## Device Template
Device PSU Design Template
Device Name | Copy this sheet and rename it
PSU Headroom | 20%
Total LEDs | 0
Design Lines
Types | LED Rating | Outputs / Runs | LEDs / Output | Total LEDs | Voltage (V) | Red (A) | Green (A) | Blue (A) | White (A) | Max (A) | Max (W) | Notes
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
PSU Summary by Voltage
Voltage | Red A | Green A | Blue A | White A | Max A | Recommended PSU A | Recommended PSU W |  | Overall | Value
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Total Max Load (W) | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Recommended Capacity (W) | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Headroom | 20%
Copy this sheet for each device. Select an LED Rating from the dropdown, enter the number of outputs/runs and LEDs per output, then size the PSU from the Max column plus your chosen headroom. If a design mixes voltage domains, use one PSU summary row per voltage.

## Instructions
LED PSU Sizing Workbook
Workflow
1 | Measure each LED type on the Power Ratings tab using your bench PSU.
2 | Measure a useful batch size (often 100 LEDs) and enter the measured quantity.
3 | Enter the actual bench supply voltage and measured current for Red, Green, Blue, White and Max.
4 | The workbook divides measured current by measured quantity to calculate per-LED current and power.
5 | Copy the Device Template tab and rename the copy for each controller/display.
6 | Select LED types from the dropdown, then enter Outputs/Runs and LEDs per Output.
7 | The template calculates total current for Red, Green, Blue, White and Max.
8 | Set PSU Headroom % on each device sheet. Recommended PSU current is based on measured Max current plus headroom.
Measurement notes
Use the same wiring and representative cable lengths where practical. Make sure the bench PSU current limit is not clipping the measurement. For RGB pixels, White is normally full R+G+B; Max is kept as a separate measured field so RGBW/RGBCCT or unusual pixels can have a true worst-case value.

## esp32s3 x16
Device PSU Design Template
Device Name | Copy this sheet and rename it
PSU Headroom | 20%
Total LEDs | 1600
Design Lines
Types | LED Rating | Outputs / Runs | LEDs / Output | Total LEDs | Voltage (V) | Red (A) | Green (A) | Blue (A) | White (A) | Max (A) | Max (W) | Notes
1 | 5V WS2812 Pebble | 16 | 100 | 1600 | 5 | 20.8 | 20.8 | 19.2 | 38.4 | 38.4 | 192 | 5V 40A
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
PSU Summary by Voltage
Voltage | Red A | Green A | Blue A | White A | Max A | Recommended PSU A | Recommended PSU W |  | Overall | Value
5 | 20.8 | 20.8 | 19.2 | 38.4 | 38.4 | 46.08 | 230.4 |  | Total Max Load (W) | 192
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Recommended Capacity (W) | 230.4
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Headroom | 20%
Copy this sheet for each device. Select an LED Rating from the dropdown, enter the number of outputs/runs and LEDs per output, then size the PSU from the Max column plus your chosen headroom. If a design mixes voltage domains, use one PSU summary row per voltage.